## Tickets
Facility | Ticket No | Main Category | Category | Sub Category | Title | Description | Priority | Reported Date
KFC Kota Bharu | TKT-24101 | Building Maintenance | Electrical | Lighting | Dining area lights flickering | Three ceiling panels in the dining hall flicker during peak hours. | High | 2026-10-14
KFC Kota Bharu | TKT-24107 | Kitchen Equipment | Refrigeration | Chiller | Walk-in chiller temperature high | Chiller reading 9°C, should be 1–4°C. | Critical | 2026-10-16
KFC Kota Bharu | TKT-24112 | Building Maintenance | Plumbing | Drainage | Slow drain at wash area | Floor trap at dishwashing area drains slowly. | Medium | 2026-10-18
KFC Bandar Saujana Utama | TKT-24088 | HVAC | Air Conditioning | Split Unit | Counter aircon not cold | Split unit above counter blowing warm air. | High | 2026-10-12
KFC Bandar Saujana Utama | TKT-24095 | Kitchen Equipment | Cooking | Pressure Fryer | Fryer #2 not reaching temp | Pressure fryer 2 heats slowly and trips at 150°C. | Critical | 2026-10-15
KFC Shah Alam Seksyen 7 | TKT-24070 | Building Maintenance | Civil | Signage | Pylon sign partly unlit | Two letters on the pylon sign are not lit at night. | Low | 2026-10-09